## Welcome
Welcome to the Catalyst Memory Configuration Tool. Your Catalyst has been shipped to you with 1 to 5 Megabytes of "non-volatile" memory (depending on amount ordered from the factory). This application is designed to help you determine how that memory will be allocated. Catalyst memory can be reserved for a Log File with the remaining memory available for user-recorded messages.
This tool will help you to:
1. -- Determine the appropriate size for your Log File Reserve. The amount of memory to reserve is based upon the following factors:
---- a. The amount of installed non-volatile memory
---- b. The number of channels to be sampled and stored in the log file
---- c. How often the channels are to be sampled
---- d. How often the Log File data is downloaded to a permanent storage device
2. -- Plan for user-recorded messages. This tool will help you plan how the channel speech and text messages can be recorded. You can time each message while reciting them. Totals are accumulated to show how much recording time remains. Message timing can be repeated as often as necessary. The total recording time available can be doubled by selecting the slower recording rate.
Catalyst Memory Allocation Tool

## RTU Information
Please Enter descriptive RTU name
Please Enter Phone Number
C10-S-020-1450 : Catalyst 56 Channel |  | 0
Please Enter descriptive RTU name
Please Enter Phone Number
C10-S-020-1450 : Catalyst 56 Channel |  | 0
| First Time? | 1

## Calculate Log File
56
Amount of NVRAM installed: |  |  | 1000 | Kbytes
Number of Channels to be actively sampled: |  |  | 56 | Active Channels
Number of data samples per hour: |  |  | 4 | Samples per Hour
Number of hours between Log File Downloads: |  |  | 72 | Hours between Downloads
Recording Rate: |  |  | 3600 | Bits Per Second
NVRAM Installed: | 1000 | Kbytes
Recommended Log File Reserve Size: | 215 | Kbytes
NVRAM Remaining: | 785 | Kbytes
Recording Time Remaining: | 216 | Seconds
Reduction in Recording Time: | 59 | Seconds

## Text Messages
Channel Number | Channel Message Time | Message 1 / NORMAL Message | Message 2 / ALARM Message | Channel Type
1 | 0 | Channel 1 reading is |  | Analog | Channel Message Total: | 0
2 | 0 | Channel 2 reading is |  | Analog | Message Time Remaining: | 0
3 | 0 | Channel 3 reading is |  | Analog
4 | 0 | Channel 4 reading is |  | Analog
5 | 0 | Channel 5 reading is |  | Analog
6 | 0 | Channel 6 reading is |  | Analog
7 | 0 | Channel 7 reading is |  | Analog
8 | 0 | Channel 8 reading is |  | Analog
9 | 0 | Channel 9 reading is |  | Analog
10 | 0 | Channel 10 reading is |  | Analog
11 | 0 | Channel 11 reading is |  | Analog
12 | 0 | Channel 12 reading is |  | Analog
13 | 0 | Channel 13 reading is |  | Analog
14 | 0 | Channel 14 reading is |  | Analog
15 | 0 | Channel 15 reading is |  | Analog
16 | 0 | Channel 16 reading is |  | Analog
17 | 0 | Channel 17 reading is |  | Analog
18 | 0 | Channel 18 reading is |  | Analog
19 | 0 | Channel 19 reading is |  | Analog
20 | 0 | Channel 20 reading is |  | Analog
21 | 0 | Channel 21 reading is |  | Analog
22 | 0 | Channel 22 reading is |  | Analog
23 | 0 | Channel 23 reading is |  | Analog
24 | 0 | Channel 24 reading is |  | Analog
25 | 0 | Channel 25 reading is |  | Analog
26 | 0 | Channel 26 reading is |  | Analog
27 | 0 | Channel 27 reading is |  | Analog
28 | 0 | Channel 28 reading is |  | Analog
29 | 0 | Channel 29 reading is |  | Analog
30 | 0 | Channel 30 reading is |  | Analog
31 | 0 | Channel 31 reading is |  | Analog
32 | 0 | Channel 32 reading is |  | Analog
33 | 0 | Channel 33 reading is |  | Analog
34 | 0 | Channel 34 reading is |  | Analog
35 | 0 | Channel 35 reading is |  | Analog
36 | 0 | Channel 36 reading is |  | Analog
37 | 0 | Channel 37 reading is |  | Analog
38 | 0 | Channel 38 reading is |  | Analog
39 | 0 | Channel 39 reading is |  | Analog
40 | 0 | Channel 40 reading is |  | Analog
41 | 0 | Channel 41 reading is |  | Analog
42 | 0 | Channel 42 reading is |  | Analog
43 | 0 | Channel 43 reading is |  | Analog
44 | 0 | Channel 44 reading is |  | Analog
45 | 0 | Channel 45 reading is |  | Analog
46 | 0 | Channel 46 reading is |  | Analog
47 | 0 | Channel 47 reading is |  | Analog
48 | 0 | Channel 48 reading is |  | Analog
49 | 0 | Channel 49 reading is |  | Analog
50 | 0 | Channel 50 reading is |  | Analog
51 | 0 | Channel 51 reading is |  | Analog
52 | 0 | Channel 52 reading is |  | Analog
53 | 0 | Channel 53 reading is |  | Analog
54 | 0 | Channel 54 reading is |  | Analog
55 | 0 | Channel 55 reading is |  | Analog
56 | 0 | Channel 56 reading is |  | Analog
57 | 0 | Channel 57 reading is |  | Analog
58 | 0 | Channel 58 reading is |  | Analog
59 | 0 | Channel 59 reading is |  | Analog
60 | 0 | Channel 60 reading is |  | Analog
61 | 0 | Channel 61 reading is |  | Analog
62 | 0 | Channel 62 reading is |  | Analog
63 | 0 | Channel 63 reading is |  | Analog
64 | 0 | Channel 64 reading is |  | Analog
65 | 0 | Channel 65 reading is |  | Analog
66 | 0 | Channel 66 reading is |  | Analog
67 | 0 | Channel 67 reading is |  | Analog
68 | 0 | Channel 68 reading is |  | Analog
69 | 0 | Channel 69 reading is |  | Analog
70 | 0 | Channel 70 reading is |  | Analog
71 | 0 | Channel 71 reading is |  | Analog
72 | 0 | Channel 72 reading is |  | Analog
73 | 0 | Channel 73 reading is |  | Analog
74 | 0 | Channel 74 reading is |  | Analog
75 | 0 | Channel 75 reading is |  | Analog
76 | 0 | Channel 76 reading is |  | Analog
77 | 0 | Channel 77 reading is |  | Analog
78 | 0 | Channel 78 reading is |  | Analog
79 | 0 | Channel 79 reading is |  | Analog
80 | 0 | Channel 80 reading is |  | Analog
81 | 0 | Channel 81 reading is |  | Analog
82 | 0 | Channel 82 reading is |  | Analog
83 | 0 | Channel 83 reading is |  | Analog
84 | 0 | Channel 84 reading is |  | Analog
85 | 0 | Channel 85 reading is |  | Analog
86 | 0 | Channel 86 reading is |  | Analog
87 | 0 | Channel 87 reading is |  | Analog
88 | 0 | Channel 88 reading is |  | Analog
89 | 0 | Channel 89 reading is |  | Analog
90 | 0 | Channel 90 reading is |  | Analog
91 | 0 | Channel 91 reading is |  | Analog
92 | 0 | Channel 92 reading is |  | Analog
93 | 0 | Channel 93 reading is |  | Analog
94 | 0 | Channel 94 reading is |  | Analog
95 | 0 | Channel 95 reading is |  | Analog
96 | 0 | Channel 96 reading is |  | Analog
97 | 0 | Channel 97 reading is |  | Analog
98 | 0 | Channel 98 reading is |  | Analog
99 | 0 | Channel 99 reading is |  | Analog
100 | 0 | Channel 100 reading is |  | Analog
101 | 0 | Channel 101 reading is |  | Analog
102 | 0 | Channel 102 reading is |  | Analog
103 | 0 | Channel 103 reading is |  | Analog
104 | 0 | Channel 104 reading is |  | Analog
105 | 0 | Channel 105 reading is |  | Analog
106 | 0 | Channel 106 reading is |  | Analog
107 | 0 | Channel 107 reading is |  | Analog
108 | 0 | Channel 108 reading is |  | Analog
109 | 0 | Channel 109 reading is |  | Analog
110 | 0 | Channel 110 reading is |  | Analog
111 | 0 | Channel 111 reading is |  | Analog
112 | 0 | Channel 112 reading is |  | Analog
113 | 0 | Channel 113 reading is |  | Analog
114 | 0 | Channel 114 reading is |  | Analog
115 | 0 | Channel 115 reading is |  | Analog
116 | 0 | Channel 116 reading is |  | Analog
117 | 0 | Channel 117 reading is |  | Analog
118 | 0 | Channel 118 reading is |  | Analog
119 | 0 | Channel 119 reading is |  | Analog
120 | 0 | Channel 120 reading is |  | Analog
121 | 0 | Channel 121 reading is |  | Analog
122 | 0 | Channel 122 reading is |  | Analog
123 | 0 | Channel 123 reading is |  | Analog
124 | 0 | Channel 124 reading is |  | Analog
125 | 0 | Channel 125 reading is |  | Analog
126 | 0 | Channel 126 reading is |  | Analog
127 | 0 | Channel 127 reading is |  | Analog
128 | 0 | Channel 128 reading is |  | Analog
129 | 0 | Channel 129 reading is |  | Analog
130 | 0 | Channel 130 reading is |  | Analog
131 | 0 | Channel 131 reading is |  | Analog
132 | 0 | Channel 132 reading is |  | Analog
133 | 0 | Channel 133 reading is |  | Analog
134 | 0 | Channel 134 reading is |  | Analog
135 | 0 | Channel 135 reading is |  | Analog
136 | 0 | Channel 136 reading is |  | Analog
137 | 0 | Channel 137 reading is |  | Analog
138 | 0 | Channel 138 reading is |  | Analog
139 | 0 | Channel 139 reading is |  | Analog
140 | 0 | Channel 140 reading is |  | Analog
141 | 0 | Channel 141 reading is |  | Analog
142 | 0 | Channel 142 reading is |  | Analog
143 | 0 | Channel 143 reading is |  | Analog
144 | 0 | Channel 144 reading is |  | Analog
145 | 0 | Channel 145 reading is |  | Analog
146 | 0 | Channel 146 reading is |  | Analog
147 | 0 | Channel 147 reading is |  | Analog
148 | 0 | Channel 148 reading is |  | Analog
149 | 0 | Channel 149 reading is |  | Analog
150 | 0 | Channel 150 reading is |  | Analog
151 | 0 | Channel 151 reading is |  | Analog
152 | 0 | Channel 152 reading is |  | Analog
153 | 0 | Channel 153 reading is |  | Analog
154 | 0 | Channel 154 reading is |  | Analog
155 | 0 | Channel 155 reading is |  | Analog
156 | 0 | Channel 156 reading is |  | Analog
157 | 0 | Channel 157 reading is |  | Analog
158 | 0 | Channel 158 reading is |  | Analog
159 | 0 | Channel 159 reading is |  | Analog
160 | 0 | Channel 160 reading is |  | Analog
161 | 0 | Channel 161 reading is |  | Analog
162 | 0 | Channel 162 reading is |  | Analog
163 | 0 | Channel 163 reading is |  | Analog
164 | 0 | Channel 164 reading is |  | Analog
165 | 0 | Channel 165 reading is |  | Analog
166 | 0 | Channel 166 reading is |  | Analog
167 | 0 | Channel 167 reading is |  | Analog
168 | 0 | Channel 168 reading is |  | Analog
169 | 0 | Channel 169 reading is |  | Analog
170 | 0 | Channel 170 reading is |  | Analog
171 | 0 | Channel 171 reading is |  | Analog
172 | 0 | Channel 172 reading is |  | Analog
173 | 0 | Channel 173 reading is |  | Analog
174 | 0 | Channel 174 reading is |  | Analog
175 | 0 | Channel 175 reading is |  | Analog
176 | 0 | Channel 176 reading is |  | Analog
177 | 0 | Channel 177 reading is |  | Analog
178 | 0 | Channel 178 reading is |  | Analog
179 | 0 | Channel 179 reading is |  | Analog
180 | 0 | Channel 180 reading is |  | Analog
181 | 0 | Channel 181 reading is |  | Analog
182 | 0 | Channel 182 reading is |  | Analog
183 | 0 | Channel 183 reading is |  | Analog
184 | 0 | Channel 184 reading is |  | Analog
185 | 0 | Channel 185 reading is |  | Analog
186 | 0 | Channel 186 reading is |  | Analog
187 | 0 | Channel 187 reading is |  | Analog
188 | 0 | Channel 188 reading is |  | Analog
189 | 0 | Channel 189 reading is |  | Analog
190 | 0 | Channel 190 reading is |  | Analog
191 | 0 | Channel 191 reading is |  | Analog
192 | 0 | Channel 192 reading is |  | Analog
193 | 0 | Channel 193 reading is |  | Analog
194 | 0 | Channel 194 reading is |  | Analog
195 | 0 | Channel 195 reading is |  | Analog
196 | 0 | Channel 196 reading is |  | Analog
197 | 0 | Channel 197 reading is |  | Analog
198 | 0 | Channel 198 reading is |  | Analog
199 | 0 | Channel 199 reading is |  | Analog
200 | 0 | Channel 200 reading is |  | Analog
201 | 0 | Channel 201 reading is |  | Analog
202 | 0 | Channel 202 reading is |  | Analog
203 | 0 | Channel 203 reading is |  | Analog
204 | 0 | Channel 204 reading is |  | Analog
205 | 0 | Channel 205 reading is |  | Analog
206 | 0 | Channel 206 reading is |  | Analog
207 | 0 | Channel 207 reading is |  | Analog
208 | 0 | Channel 208 reading is |  | Analog
209 | 0 | Channel 209 reading is |  | Analog
210 | 0 | Channel 210 reading is |  | Analog
211 | 0 | Channel 211 reading is |  | Analog
212 | 0 | Channel 212 reading is |  | Analog
213 | 0 | Channel 213 reading is |  | Analog
214 | 0 | Channel 214 reading is |  | Analog
215 | 0 | Channel 215 reading is |  | Analog
216 | 0 | Channel 216 reading is |  | Analog
217 | 0 | Channel 217 reading is |  | Analog
218 | 0 | Channel 218 reading is |  | Analog
219 | 0 | Channel 219 reading is |  | Analog
220 | 0 | Channel 220 reading is |  | Analog
221 | 0 | Channel 221 reading is |  | Analog
222 | 0 | Channel 222 reading is |  | Analog
223 | 0 | Channel 223 reading is |  | Analog
224 | 0 | Channel 224 reading is |  | Analog
225 | 0 | Channel 225 reading is |  | Analog
226 | 0 | Channel 226 reading is |  | Analog
227 | 0 | Channel 227 reading is |  | Analog
228 | 0 | Channel 228 reading is |  | Analog
229 | 0 | Channel 229 reading is |  | Analog
230 | 0 | Channel 230 reading is |  | Analog
231 | 0 | Channel 231 reading is |  | Analog
232 | 0 | Channel 232 reading is |  | Analog
233 | 0 | Channel 233 reading is |  | Analog
234 | 0 | Channel 234 reading is |  | Analog
235 | 0 | Channel 235 reading is |  | Analog
236 | 0 | Channel 236 reading is |  | Analog
237 | 0 | Channel 237 reading is |  | Analog
238 | 0 | Channel 238 reading is |  | Analog
239 | 0 | Channel 239 reading is |  | Analog
240 | 0 | Channel 240 reading is |  | Analog
241 | 0 | Channel 241 reading is |  | Analog
242 | 0 | Channel 242 reading is |  | Analog
243 | 0 | Channel 243 reading is |  | Analog
244 | 0 | Channel 244 reading is |  | Analog
245 | 0 | Channel 245 reading is |  | Analog
246 | 0 | Channel 246 reading is |  | Analog
247 | 0 | Channel 247 reading is |  | Analog
248 | 0 | Channel 248 reading is |  | Analog
249 | 0 | Channel 249 reading is |  | Analog
250 | 0 | Channel 250 reading is |  | Analog
251 | 0 | Channel 251 reading is |  | Analog
252 | 0 | Channel 252 reading is |  | Analog
253 | 0 | Channel 253 reading is |  | Analog
254 | 0 | Channel 254 reading is |  | Analog
255 | 0 | Channel 255 reading is |  | Analog
256 | 0 | Channel 256 reading is |  | Analog

## Report
| RTU Name: | Please Enter descriptive RTU name
| RTU Phone Number: | Please Enter Phone Number
| Catalyst Model Number: | C10-S-020-1450 : Catalyst 56 Channel
|  | Amount of NVRAM installed: | 1000 | Kbytes
|  | Number of Channels to be actively sampled: | 56
|  | Number of data samples per hour: | 4
|  | Number of hours between Log File Downloads: | 72
|  | Recording Rate: | 3600 | BPS
|  | Recommended Log File Reserve Size: | 215 | Kbytes
|  | NVRAM Remaining: | 785 | Kbytes
Before Channel Messages
|  | Message Time Remaining: | 216 | Seconds
|  | Reduction in Recording Time: | 59 | Seconds
After Channel Messages
|  | Channel Message Time Total: | 0 | Seconds
|  | Message Time Remaining: | 0 | Seconds
Channel Number | Channel Message Time | Message 1 / NORMAL Message | Message 2 / ALARM Message | Channel Type
1 | 0 | Channel 1 reading is |  | Analog
2 | 0 | Channel 2 reading is |  | Analog
3 | 0 | Channel 3 reading is |  | Analog
4 | 0 | Channel 4 reading is |  | Analog
5 | 0 | Channel 5 reading is |  | Analog
6 | 0 | Channel 6 reading is |  | Analog
7 | 0 | Channel 7 reading is |  | Analog
8 | 0 | Channel 8 reading is |  | Analog
9 | 0 | Channel 9 reading is |  | Analog
10 | 0 | Channel 10 reading is |  | Analog
11 | 0 | Channel 11 reading is |  | Analog
12 | 0 | Channel 12 reading is |  | Analog
13 | 0 | Channel 13 reading is |  | Analog
14 | 0 | Channel 14 reading is |  | Analog
15 | 0 | Channel 15 reading is |  | Analog
16 | 0 | Channel 16 reading is |  | Analog
17 | 0 | Channel 17 reading is |  | Analog
18 | 0 | Channel 18 reading is |  | Analog
19 | 0 | Channel 19 reading is |  | Analog
20 | 0 | Channel 20 reading is |  | Analog
21 | 0 | Channel 21 reading is |  | Analog
22 | 0 | Channel 22 reading is |  | Analog
23 | 0 | Channel 23 reading is |  | Analog
24 | 0 | Channel 24 reading is |  | Analog
25 | 0 | Channel 25 reading is |  | Analog
26 | 0 | Channel 26 reading is |  | Analog
27 | 0 | Channel 27 reading is |  | Analog
28 | 0 | Channel 28 reading is |  | Analog
29 | 0 | Channel 29 reading is |  | Analog
30 | 0 | Channel 30 reading is |  | Analog
31 | 0 | Channel 31 reading is |  | Analog
32 | 0 | Channel 32 reading is |  | Analog
33 | 0 | Channel 33 reading is |  | Analog
34 | 0 | Channel 34 reading is |  | Analog
35 | 0 | Channel 35 reading is |  | Analog
36 | 0 | Channel 36 reading is |  | Analog
37 | 0 | Channel 37 reading is |  | Analog
38 | 0 | Channel 38 reading is |  | Analog
39 | 0 | Channel 39 reading is |  | Analog
40 | 0 | Channel 40 reading is |  | Analog
41 | 0 | Channel 41 reading is |  | Analog
42 | 0 | Channel 42 reading is |  | Analog
43 | 0 | Channel 43 reading is |  | Analog
44 | 0 | Channel 44 reading is |  | Analog
45 | 0 | Channel 45 reading is |  | Analog
46 | 0 | Channel 46 reading is |  | Analog
47 | 0 | Channel 47 reading is |  | Analog
48 | 0 | Channel 48 reading is |  | Analog
49 | 0 | Channel 49 reading is |  | Analog
50 | 0 | Channel 50 reading is |  | Analog
51 | 0 | Channel 51 reading is |  | Analog
52 | 0 | Channel 52 reading is |  | Analog
53 | 0 | Channel 53 reading is |  | Analog
54 | 0 | Channel 54 reading is |  | Analog
55 | 0 | Channel 55 reading is |  | Analog
56 | 0 | Channel 56 reading is |  | Analog
57 | 0 | Channel 57 reading is |  | Analog
58 | 0 | Channel 58 reading is |  | Analog
59 | 0 | Channel 59 reading is |  | Analog
60 | 0 | Channel 60 reading is |  | Analog
61 | 0 | Channel 61 reading is |  | Analog
62 | 0 | Channel 62 reading is |  | Analog
63 | 0 | Channel 63 reading is |  | Analog
64 | 0 | Channel 64 reading is |  | Analog
65 | 0 | Channel 65 reading is |  | Analog
66 | 0 | Channel 66 reading is |  | Analog
67 | 0 | Channel 67 reading is |  | Analog
68 | 0 | Channel 68 reading is |  | Analog
69 | 0 | Channel 69 reading is |  | Analog
70 | 0 | Channel 70 reading is |  | Analog
71 | 0 | Channel 71 reading is |  | Analog
72 | 0 | Channel 72 reading is |  | Analog
73 | 0 | Channel 73 reading is |  | Analog
74 | 0 | Channel 74 reading is |  | Analog
75 | 0 | Channel 75 reading is |  | Analog
76 | 0 | Channel 76 reading is |  | Analog
77 | 0 | Channel 77 reading is |  | Analog
78 | 0 | Channel 78 reading is |  | Analog
79 | 0 | Channel 79 reading is |  | Analog
80 | 0 | Channel 80 reading is |  | Analog
81 | 0 | Channel 81 reading is |  | Analog
82 | 0 | Channel 82 reading is |  | Analog
83 | 0 | Channel 83 reading is |  | Analog
84 | 0 | Channel 84 reading is |  | Analog
85 | 0 | Channel 85 reading is |  | Analog
86 | 0 | Channel 86 reading is |  | Analog
87 | 0 | Channel 87 reading is |  | Analog
88 | 0 | Channel 88 reading is |  | Analog
89 | 0 | Channel 89 reading is |  | Analog
90 | 0 | Channel 90 reading is |  | Analog
91 | 0 | Channel 91 reading is |  | Analog
92 | 0 | Channel 92 reading is |  | Analog
93 | 0 | Channel 93 reading is |  | Analog
94 | 0 | Channel 94 reading is |  | Analog
95 | 0 | Channel 95 reading is |  | Analog
96 | 0 | Channel 96 reading is |  | Analog
97 | 0 | Channel 97 reading is |  | Analog
98 | 0 | Channel 98 reading is |  | Analog
99 | 0 | Channel 99 reading is |  | Analog
100 | 0 | Channel 100 reading is |  | Analog
101 | 0 | Channel 101 reading is |  | Analog
102 | 0 | Channel 102 reading is |  | Analog
103 | 0 | Channel 103 reading is |  | Analog
104 | 0 | Channel 104 reading is |  | Analog
105 | 0 | Channel 105 reading is |  | Analog
106 | 0 | Channel 106 reading is |  | Analog
107 | 0 | Channel 107 reading is |  | Analog
108 | 0 | Channel 108 reading is |  | Analog
109 | 0 | Channel 109 reading is |  | Analog
110 | 0 | Channel 110 reading is |  | Analog
111 | 0 | Channel 111 reading is |  | Analog
112 | 0 | Channel 112 reading is |  | Analog
113 | 0 | Channel 113 reading is |  | Analog
114 | 0 | Channel 114 reading is |  | Analog
115 | 0 | Channel 115 reading is |  | Analog
116 | 0 | Channel 116 reading is |  | Analog
117 | 0 | Channel 117 reading is |  | Analog
118 | 0 | Channel 118 reading is |  | Analog
119 | 0 | Channel 119 reading is |  | Analog
120 | 0 | Channel 120 reading is |  | Analog
121 | 0 | Channel 121 reading is |  | Analog
122 | 0 | Channel 122 reading is |  | Analog
123 | 0 | Channel 123 reading is |  | Analog
124 | 0 | Channel 124 reading is |  | Analog
125 | 0 | Channel 125 reading is |  | Analog
126 | 0 | Channel 126 reading is |  | Analog
127 | 0 | Channel 127 reading is |  | Analog
128 | 0 | Channel 128 reading is |  | Analog
129 | 0 | Channel 129 reading is |  | Analog
130 | 0 | Channel 130 reading is |  | Analog
131 | 0 | Channel 131 reading is |  | Analog
132 | 0 | Channel 132 reading is |  | Analog
133 | 0 | Channel 133 reading is |  | Analog
134 | 0 | Channel 134 reading is |  | Analog
135 | 0 | Channel 135 reading is |  | Analog
136 | 0 | Channel 136 reading is |  | Analog
137 | 0 | Channel 137 reading is |  | Analog
138 | 0 | Channel 138 reading is |  | Analog
139 | 0 | Channel 139 reading is |  | Analog
140 | 0 | Channel 140 reading is |  | Analog
141 | 0 | Channel 141 reading is |  | Analog
142 | 0 | Channel 142 reading is |  | Analog
143 | 0 | Channel 143 reading is |  | Analog
144 | 0 | Channel 144 reading is |  | Analog
145 | 0 | Channel 145 reading is |  | Analog
146 | 0 | Channel 146 reading is |  | Analog
147 | 0 | Channel 147 reading is |  | Analog
148 | 0 | Channel 148 reading is |  | Analog
149 | 0 | Channel 149 reading is |  | Analog
150 | 0 | Channel 150 reading is |  | Analog
151 | 0 | Channel 151 reading is |  | Analog
152 | 0 | Channel 152 reading is |  | Analog
153 | 0 | Channel 153 reading is |  | Analog
154 | 0 | Channel 154 reading is |  | Analog
155 | 0 | Channel 155 reading is |  | Analog
156 | 0 | Channel 156 reading is |  | Analog
157 | 0 | Channel 157 reading is |  | Analog
158 | 0 | Channel 158 reading is |  | Analog
159 | 0 | Channel 159 reading is |  | Analog
160 | 0 | Channel 160 reading is |  | Analog
161 | 0 | Channel 161 reading is |  | Analog
162 | 0 | Channel 162 reading is |  | Analog
163 | 0 | Channel 163 reading is |  | Analog
164 | 0 | Channel 164 reading is |  | Analog
165 | 0 | Channel 165 reading is |  | Analog
166 | 0 | Channel 166 reading is |  | Analog
167 | 0 | Channel 167 reading is |  | Analog
168 | 0 | Channel 168 reading is |  | Analog
169 | 0 | Channel 169 reading is |  | Analog
170 | 0 | Channel 170 reading is |  | Analog
171 | 0 | Channel 171 reading is |  | Analog
172 | 0 | Channel 172 reading is |  | Analog
173 | 0 | Channel 173 reading is |  | Analog
174 | 0 | Channel 174 reading is |  | Analog
175 | 0 | Channel 175 reading is |  | Analog
176 | 0 | Channel 176 reading is |  | Analog
177 | 0 | Channel 177 reading is |  | Analog
178 | 0 | Channel 178 reading is |  | Analog
179 | 0 | Channel 179 reading is |  | Analog
180 | 0 | Channel 180 reading is |  | Analog
181 | 0 | Channel 181 reading is |  | Analog
182 | 0 | Channel 182 reading is |  | Analog
183 | 0 | Channel 183 reading is |  | Analog
184 | 0 | Channel 184 reading is |  | Analog
185 | 0 | Channel 185 reading is |  | Analog
186 | 0 | Channel 186 reading is |  | Analog
187 | 0 | Channel 187 reading is |  | Analog
188 | 0 | Channel 188 reading is |  | Analog
189 | 0 | Channel 189 reading is |  | Analog
190 | 0 | Channel 190 reading is |  | Analog
191 | 0 | Channel 191 reading is |  | Analog
192 | 0 | Channel 192 reading is |  | Analog
193 | 0 | Channel 193 reading is |  | Analog
194 | 0 | Channel 194 reading is |  | Analog
195 | 0 | Channel 195 reading is |  | Analog
196 | 0 | Channel 196 reading is |  | Analog
197 | 0 | Channel 197 reading is |  | Analog
198 | 0 | Channel 198 reading is |  | Analog
199 | 0 | Channel 199 reading is |  | Analog
200 | 0 | Channel 200 reading is |  | Analog
201 | 0 | Channel 201 reading is |  | Analog
202 | 0 | Channel 202 reading is |  | Analog
203 | 0 | Channel 203 reading is |  | Analog
204 | 0 | Channel 204 reading is |  | Analog
205 | 0 | Channel 205 reading is |  | Analog
206 | 0 | Channel 206 reading is |  | Analog
207 | 0 | Channel 207 reading is |  | Analog
208 | 0 | Channel 208 reading is |  | Analog
209 | 0 | Channel 209 reading is |  | Analog
210 | 0 | Channel 210 reading is |  | Analog
211 | 0 | Channel 211 reading is |  | Analog
212 | 0 | Channel 212 reading is |  | Analog
213 | 0 | Channel 213 reading is |  | Analog
214 | 0 | Channel 214 reading is |  | Analog
215 | 0 | Channel 215 reading is |  | Analog
216 | 0 | Channel 216 reading is |  | Analog
217 | 0 | Channel 217 reading is |  | Analog
218 | 0 | Channel 218 reading is |  | Analog
219 | 0 | Channel 219 reading is |  | Analog
220 | 0 | Channel 220 reading is |  | Analog
221 | 0 | Channel 221 reading is |  | Analog
222 | 0 | Channel 222 reading is |  | Analog
223 | 0 | Channel 223 reading is |  | Analog
224 | 0 | Channel 224 reading is |  | Analog
225 | 0 | Channel 225 reading is |  | Analog
226 | 0 | Channel 226 reading is |  | Analog
227 | 0 | Channel 227 reading is |  | Analog
228 | 0 | Channel 228 reading is |  | Analog
229 | 0 | Channel 229 reading is |  | Analog
230 | 0 | Channel 230 reading is |  | Analog
231 | 0 | Channel 231 reading is |  | Analog
232 | 0 | Channel 232 reading is |  | Analog
233 | 0 | Channel 233 reading is |  | Analog
234 | 0 | Channel 234 reading is |  | Analog
235 | 0 | Channel 235 reading is |  | Analog
236 | 0 | Channel 236 reading is |  | Analog
237 | 0 | Channel 237 reading is |  | Analog
238 | 0 | Channel 238 reading is |  | Analog
239 | 0 | Channel 239 reading is |  | Analog
240 | 0 | Channel 240 reading is |  | Analog
241 | 0 | Channel 241 reading is |  | Analog
242 | 0 | Channel 242 reading is |  | Analog
243 | 0 | Channel 243 reading is |  | Analog
244 | 0 | Channel 244 reading is |  | Analog
245 | 0 | Channel 245 reading is |  | Analog
246 | 0 | Channel 246 reading is |  | Analog
247 | 0 | Channel 247 reading is |  | Analog
248 | 0 | Channel 248 reading is |  | Analog
249 | 0 | Channel 249 reading is |  | Analog
250 | 0 | Channel 250 reading is |  | Analog
251 | 0 | Channel 251 reading is |  | Analog
252 | 0 | Channel 252 reading is |  | Analog
253 | 0 | Channel 253 reading is |  | Analog
254 | 0 | Channel 254 reading is |  | Analog
255 | 0 | Channel 255 reading is |  | Analog
256 | 0 | Channel 256 reading is |  | Analog